## Slide 1
#2
Katsushi Matsuda*, Hiromi Takahata**, Osamu Oshiro**, Minoru Okada*
* Graduate School of Information Science, Nara Institute of Science and Technology, Nara, Japan
**Division of Graduate School of Engineering Science, Osaka University, Osaka, Japan
RFID-tag assisted surgery support system
Joint Estimation of Position and Gain
for RFID-Tag Assisted Surgery Support System
Reader/ Writer
The tag is implanted near the lesion through bronchoscope before the operation
the sensor antenna is inserted into body through an endoscopic channel, and it receives an RFID signal
The tag position is estimated from strength of the received signal
tag
Problem in 3D positioning
Result
The estimation error performance against the initial
initial
estimation error [mm]
joint
not joint
The cost function is given by
Tag Position
Problem
・Tag gain information is unknown at the receiver.
・Without tag gain information, the distance is not estimated correctly.
Solution
・the tag gain and the position are estimated simultaneously.
・the tag position and gain are estimated by minimizing this estimation error criteria.
・Proposed algorithm can estimate the tag
position even if initial estimated tag gain tilde α
is different from true tag gain α.
・This means that the proposed scheme is capable
of estimating the tag position accurately even if
the tag gain is not known at the receiver.
3D Positioning
#1
RFID tag
Sensor antennas
#4
#3
Received Signal Strength
Distance between tag and sensor
The position of the k-th sensor antenna
3D positioning is required
Relationship between distance and
signal strength
Distance can be estimated by applying
the measured signal strength to:
Tag Gain
The tag position is obtained by searching for t which minimizes the cost function.
Joint tag position and gain
In order to evaluate the performance of the proposed solution, the sequential quadratic programming (SQP) is used for the minimization.